Summary of Cost Assumptions.

PV Only

| System | System Size (kWdc) | Cost/Watt (PV) | Closing Costs and Fees | Total Cost |
| --- | --- | --- | --- | --- |
| 1. College of Textiles Complex | 345.1 | $1.43 | $22,493 | $516,722.00 |
| 2. James B. Hunt Jr. Library | 455.2 |  | $30,397 | $682,304.00 |
| 3. Engineering Building I | 283.5 |  | $17,824 | $423,833.00 |
| 4. Engineering Building II | 584.3 |  | $35,866 | $872,622.00 |
| 5. Engineering Building III | 384.5 |  | $24,027 | $574,683.00 |
| 6. Research I | 25.9 |  | $1,629 | $38,722.00 |
| 7. Toxicology Building | 82.1 |  | $5,250 | $122,828.00 |
| 8. Partners II | 165.8 |  | $9,824 | $247,272.00 |
| 9. Partners III | 77.2 |  | $4,414 | $114,975.00 |
| 10. Floating Solar | 2000 | $1.69 | $121,210 | $3,505,476.00 |
| 11. Ground Mount | 2190 | $1.62 | $122,650 | $3,675,121.00 |
| Total PV Capacity | 6593.6 | Total Closing Fees | $395,586 |  |
| Total Cost |  |  |  | $10,774,598.00 |

PV + Resiliency Battery:

| System | System Size (kWdc) | Cost/Watt (PV) | Closing Costs and Fees | Total Cost |
| --- | --- | --- | --- | --- |
| 1. College of Textiles Complex | 345.1 | $1.43 | $22,493 | $516,722.00 |
| 2. James B. Hunt Jr. Library | 455.2 |  | $30,397 | $682,304.00 |
| 3. Engineering Building I | 283.5 |  | $17,824 | $423,833.00 |
| 4. Engineering Building II | 584.3 |  | $35,866 | $872,622.00 |
| 5. Engineering Building III | 384.5 |  | $24,027 | $574,683.00 |
| 6. Research I | 25.9 |  | $1,629 | $38,722.00 |
| 7. Toxicology Building | 82.1 |  | $5,250 | $122,828.00 |
| 8. Partners II | 165.8 |  | $9,824 | $247,272.00 |
| 9. Partners III | 77.2 |  | $4,414 | $114,975.00 |
| 10. Floating Solar | 2000 | $1.69 | $121,210 | $3,505,476.00 |
| 11. Ground Mount | 2190 | $1.62 | $122,650 | $3,675,121.00 |
| Total PV Capacity | 6593.6 | Total Closing Fees | $395,586 |  |
|  |  | Battery Cost | $653,940 |  |
| Total Cost |  |  |  | $11,428,538.00 |

Other Financial Assumptions

3VO protection scheme is not included in the financial analysis as we are assuming that Duke progress has it and we will utilize it. If Duke Progress does not have it, then it can be purchased for an additional cost of around $500,000 [8].

Summary of Applicable Federal and State Incentives and cost benefits

| Federal Tax Incentives |  |
| --- | --- |
| Investment Tax Credit (ITC) [9]. | The ITC reduces the federal income tax liability by 30% of the cost of a solar system for the year in which it is installed. For tax exempt organizations (University if Cash Purchase), may receive the ITC as a direct payment option (refund from the IRS) OR they may sell all or a portion of the tax credits to an eligible taxpayer. |
| MACRS Depreciation [10] | Using MACRS, businesses can recover the investment through depreciation reductions. 5-year schedule for most renewable technologies In the PPA case, MACRS is applicable. In the Cash Purchase case, MACRS cannot be applied. |

There are currently no state tax incentives for which this project would be eligible, however after the system is installed, the University could possibly apply for the Duke Energy NC Solar Rebate program (within 90 days of installing the system) which could provide an additional rebate of $0.75/W, up to $75,000 [11].

Cash Purchase vs. PPA

- PV only

| Cash Purchase Option |  | PPA Option |  |
| --- | --- | --- | --- |
| Total Upfront Cost | $10,774,598 | PPA | $0.073/kWh |
| Debt | No | Debt | No |
| Project NPV @ Investor: | $620,463 | Project NPV @ Investor: | $371,262 |
| NPV Customer Savings: | $500,949* | NPV Customer Savings: | $74,970* |
| Project IRR | 6.7% | Project IRR | 6.5% |
| Cash/Tax Equity NPV is N/A for Cash Purchase |  | Cash Equity NPV @ | $391 |
|  |  | Tax Equity NPV @ | - $391 |

*From EnergyToolBase in 25 years

- PV + Resiliency Battery

| Cash Purchase Option |  | PPA Option |  |
| --- | --- | --- | --- |
| Total Upfront Cost | $11,428,538 | PPA | $0.079/kWh |
| Debt | No | Debt | No |
| Project NPV @ Investor: | $25,100 | Project NPV @ Investor: | $0 |
| NPV Customer Savings: | - $596,069* | NPV Customer Savings: | - $596,069* |
| Cash/Tax Equity NPV is N/A for Cash Purchase |  | Cash Equity NPV @ | $1,929 |
|  |  | Tax Equity NPV @ | $1,772 |

*From EnergyToolBase in 25 years

For PV+Resiliency Battery in both cases, the University should pay the cost.

Notes on how cost/W was calculated:

Ground Mount

- Single Axis Tracker [5]

  - Add $0.12/W to the original construction costs for ground mount ($1.42/W) [2]

    - For this, the NREL document had an estimate of $0.10 to be the difference between a fixed tilt and a single-axis tracker for a 5 MW utility scale ground mount project. Because our system size is lower (2.19 MW), we added two cents to get a cost of $0.12/W.

- Tree clearing cost for ground mount - $3000-$5000/acre for 20 acres ($20,000-$100,000) [6].

  - Assume $4000/acre and assume that we want to clear 20 Acres for the 2 MW system (overestimate to ensure that we do not have shading issues)

    - Total cost for tree clearing = $80,000

- Grading cost not included in the tree clearing cost – highly dependent on the location and without further information we will assume additional $3,500/acre for 20 acres [6].

  - Total cost for grading = $70,000

      - Total cost for tree clearing/grading = $150,000

- Updated the cost/W for the single axis tracker, added $0.12/W.

- Updated the cost/W for the ground mount for tree clearing and grading, added $0.07/W.

- Updated the cost/W for the ground mount for the controller cost, added $0.012133/W.

  - Construction cost per watt for ground mount changes to ($1.42 + $0.12 + $0.07 + 0.012133) = $1.622 – (Developer Margin = $0.1622) = $1.46/W.

    - Ground mount Construction Cost/W = $1.46

    - Ground mount Total Cost/W = $1.62

- Controller Cost

  - $80,000 total - divide over the total system size to get an additional $0.012133/W to include in the construction cost/W for all the systems [3].

The final cost/W is

Rooftop:

      - Construction Cost/W = $1.29

      - Total Cost/W = $1.43

Ground Mount:

      - Construction Cost/W = $1.50

      - Total Cost/W = $1.66

Floating:

      - Construction Cost/W = $1.52

      - Total Cost/W = $1.69

Utility Cost

NCSU takes its electricity service primarily under Schedule LGS-TOU-74. NCSU is not charged for demand above 10,500 kW, whether on-peak or off.  Centennial Campus is also on the non-firm standby rider. Under this rider, NCSU is not charged for demand above 10,500 kW, whether on-peak or off. Any electricity usage above that level is charged at real-time pricing per kWh (Schedule LGS-RTP-74).

As Real Time Prices change every time, xxxxxxxx. The average Utility Cost for the substation was modelized in EnergyToolBase, arriving at a Utility average rate of 0.073 $/kWh .

References

[1] Feldman, David, and Paul Schwabe. 2018. Terms, Trends, and Insights on PV Project Finance in the

United States, 2018. Page 5. Golden, CO: National Renewable Energy Laboratory. NREL/TP-6A20-72037. https://www.nrel.gov/docs/fy19osti/72037.pdf

[2] Ramasamy Vignesh, David Feldman, Jal Desai, and Robert Margolis. 2021. U.S. Solar Photovoltaic

System and Energy Storage Cost Benchmarks: Q1 2021. Page 13. Golden, CO: National Renewable Energy Laboratory. NREL/TP-7A40-80694. https://www.nrel.gov/docs/fy22osti/80694.pdf.

[3] Giraldez, Julieta, Francisco Flores-Espino, Sara MacAlpine, and Peter Asmus. 2018. Phase I Microgrid

Cost Study: Data Collection and Analysis of Microgrid Costs in the United States. Page 27.

Golden, CO: National Renewable Energy Laboratory. NREL/TP-5D00-67821.

https://www.nrel.gov/docs/fy19osti/67821.pdf.

[4] Ramasamy, Vignesh and Robert Margolis. 2021. Floating Photovoltaic System Cost

Benchmark: Q1 2021 Installations on Artificial Water Bodies. Page 10. Golden, CO:

National Renewable Energy Laboratory. NREL/TP-7A40-80695. https://www.nrel.gov/docs/fy22osti/80695.pdf

[5] Feldman, David, Vignesh Ramasamy, Ran Fu, Ashwin Ramdas, Jal Desai, and Robert

Margolis. 2021. U.S. Solar Photovoltaic System Cost Benchmark: Q1 2020. Page 45.

Golden, CO: National Renewable Energy Laboratory. NREL/TP-6A20-77324. https://www.nrel.gov/docs/fy21osti/77324.pdf

[6] Grupa, Tom. “Land Clearing Cost,” Apr. 05, 2023.

https://homeguide.com/costs/land-clearing-cost

[7] “Commercial Battery Storage.” NREL.

https://atb.nrel.gov/electricity/2021/commercial_battery_storage

[8] NREL Data Catalog. 2019. Distribution System Upgrade Unit Cost Database:

Cost_database_v2_2019.xlsx. https://data.nrel.gov/submissions/101

[9]“Federal Solar Tax Credits for Businesses,” Energy.gov.

Available: https://www.energy.gov/eere/solar/federal-solar-tax-credits-businesses

[10] “Modified Accelerated Cost-Recovery System (MACRS),” DSIRE.org. Available: https://programs.dsireusa.org/system/program/detail/676/modified-accelerated-cost-recovery-system-macrs

[11] “NC SOLAR REBATE PROGRAM,” Duke Energy.

https://p-cd.duke-energy.com/-/media/pdfs/for-your-home/2023-nc-solar-	rebate-dec-dep-program.pdf?rev=104b50010e864b299bf9c559fb1c1361&_gl=1

The closing costs and fees are calculated using a weighted distribution based on system size for a total cost of

around $0.4 mm which was found from the Terms, Trends, and Insights on PV Project Finance in the United

States report [1]. Assumed Smaller-Dollar PV deals (below $25 million).

For Rooftops (systems 1-9), updated Cost/W is composed of the Cost/W given by the Solar Photovoltaic System and Energy Storage Cost Benchmarks: Q1 2021 report [2], plus the controller cost - added $0.012133/W [3] from the Phase I Microgrid Cost Study. Conservative estimate because of the minimal hardware approach of the CERTS controller.

For Floating (system 10), updated Cost/W is composed of the Cost/W given by the Floating Photovoltaic System Cost Benchmark: Q1 2021 document [4], plus the controller cost - additional $0.012133/W [3].

For Ground Mount (system 11), updated Cost/W composed of the Cost/W given by the Solar Photovoltaic System and Energy Storage Cost Benchmarks: Q1 2021 report [2], plus single-axis tracker cost – additional $0.12/W [5], plus cost for tree clearing and grading the land – additional $0.07/W [6],  plus the controller cost - additional $0.012133/W [3].

For our financial model, we included the cost of the battery in our total closing fees (upfront financing costs). Battery cost assumes $450/kWh for the resiliency battery which is sized for 1453.2 kWh [7].